## PM Manual
| PREVENTATIVE MAINTENANCE MANUAL | Italics = example of information to include
Site Address
Gather all information to put in a 3-ring binder - feel free to add categories that apply to your space
CATEGORY | NOTES |  | DETAILS: | PHOTOS
FLOOR PLAN | number rooms for identification | Need room numbers and ID chart for numbers, Inventory plan to match, closets labeled | name / contact infor for architect | Floor Plan
EVACUATION PLAN |  | Add exits, red lines and extinguishers fire extinguishers, exits, meeting places | update floor plan and post it | Evacuation Plan
Collect details connected with each category and include make, model, SN, warranty info, contractor name, address, contact info. Include contracts, service contracts,
date of purchase, lease termination date, service vendors, etc. Place copy of vendor business cards at the beginning of each category
ROOF / GUTTERS | know what kind of roof you have, its age and contractor name | who installed roof or does maintenance? | vendor name / contact information
APPLIANCES | refrigerator | include # and room location | make / model / sn
| stove | when purchased? | make / model / sn + service contact info
| dishwasher | when purchased? | make / model / sn + service contact info
| microwaves | when purchased? Specify locations | make / model / sn + service contact info
| vending machines | owned or leased? | make / model / sn + service contact info
| washer | when purchased? | make / model / sn + service contact info | warranty booklets
| dryer | when purchased? | make / model / sn + service contact info | warranty booklets
| water heater | location and when installed? Gas or electric? # gal? | make / model / sn+ service contact info Tag the water shut off for ease of location
| freezer | when purchased? | make / model / sn + service contact info | warranty booklets
OFFICE EQUIPMENT | copier | when purchased? Specify locations | make / model / sn + service contact info
| fax | when purchased? Specify locations | make / model / sn + service contact info
| scanner | when purchased? Specify locations | make / model / sn + service contact info
| laminator | when purchased? Specify locations | make / model / sn + service contact info | warranty booklets
| TV | when purchased? Specify locations | make / model / sn + service contact info
| overhead projector | when purchased? Specify locations | Make and Model, identify what bulbs are needed and where they are
| DVD/VCR | when purchased? Specify locations | make / model / sn + service contact info | warranty booklets
IT / PHONE | servers | when purchased? Specify locations | make / model / sn + service contact info
| d link switch | when purchased? Specify locations | make / model / sn + service contact info | warranty booklets
| phones | when purchased? Specify locations | make / model / sn + service contact info include inventory
| Computers | Spreadsheet with information on Shared drive. | make / model / sn + service contact info include inventory
ELECTRICAL | photo of breaker box | location | show in floor plan | Photo
| label all breakers |  | reference floor plan and post by breakers
| identify problem areas |  | indicate on floor plan
| light fixtures, type bulbs and ballasts and source | include copy of Ga Power energy audit | Find energy audit
PLUMBING | identify location of water main and shut off valves | Shut off in boiler room, water main location | tag lines and show on floor plan | Floor Plan
| grease trap details, cleanout locations | include date installed & location of cleanout | vendor name / contact information show location on site plan | Site Plan
| identify problems or leaks | have sprung leaks at various places including main water line, front of building and overhead pipe in laundry room. | indicate on floor plan | Floor Plan
UTILITIES / SERVICES | list provider, account #, emergency #s and payables #, include copy of bill | Include copy of invoices for full detail | Phone #s and contact name | Copies of Invoices
electric
gas
water
trash collection / recycling
pest control
termite bond
janitorial
Security include passcode
Water Cooler
Plumbing
Plumbing (sewer line / major projects)
HVAC | identify location, size, make, model of all units | #units, install dates & location | make / model / sn + service contact info Tag t-stats to HVAC unit / show HVAC plan if available | HVAC Plan
BUILDING MAINTENANCE | copies of any service contracts | see services & equipment above
LANDSCAPE MAINT | Landscape |  | vendor name / contact information
| Irrigation |  | vendor name / contact information
| Tree Work |  | vendor name / contact information
SAFETY | Employee list of cell & home phones |  | update staff numbers monthly & distribute
| First Aid kit |  | vendor name / contact information
FIRE PREVENTION | Fire extinguisher service contract / dates | Cintas, regular check on October, they also maintain firehood in kitchen which has a separate inspection | vendor name / contact information copies of contracts and latest inspection reports
| emergency contact information | Children's information on computer, backup book in Program Coordinator Office, information on each class is also maintained in classroom. | update staff numbers monthly & distribute
| evacuation plan | need to be updated in color | review with staff and post | Evacuation Plan
| Fire Drill and Tornado Drill plans and schedule | monthly fire drill, annual tornado drill info in handbook | show meeting areas on evacuation plan
| Do you have a weather radio? |  | who monitors & communicates?
| smoke detector & C02 detector location & schedule | Fire system in halls and clasrooms monitored by ADT, CO2 detector in hall outside kitchen door | schedule to change batteries
SECURITY | contract | ADT | monitor # Accnt # password copy of contract
| camera and recording information | Cameras installed on perimeter of building, DVR recording movement in ED office. DVR maintins taping for 1 week | map of where cameras are and instruction of camera operation, DVR
| alarm / disarm instructions | In ED office | vendor name / contact information be sure to share password for disarming
| locksmith contact |  | vendor name / contact information
| key list (#s and who has keys) | On shared drive needs updating
FURNITURE | list equipment and furniture as asset list | Inventory | compare to asset list | PHOTOS
PLAYGROUND | list equipment and maintenance details | Inventory | compare to asset list | PHOTOS
SPECIAL EQUIPMENT | identify | Inventory | compare to asset list | PHOTOS
INTERIOR FINISHES | details of wallcovering, flooring, paint and sources |  | list paint colors, flooring selections, etc. and vendors names / contact information
INSURANCE | Insurance policy and contact information | specify liability, workmans comp, auto coverage, separate accident policy for children, specialities, etc. | List insur agent contact information, policy #s and copy of certificates
| get insur certif FROM all vendors naming you as named insured | references any work scheduled on site
VEHICLES | registration and insurance card in vehicle | In vehicle. | copies of registration and title
| service history | In vehicle.
| vendors for various services |  | vendor name / contact information
| verify employees who drive have current license |  | copies of DMV reports
| emergency service |  | add emergency roadside assistance via insur
TOOL KIT | put what you have in one place and organize it. What do you need? Join ToolBank Atlanta and get what you need | where are tools and who is responsible for organization and condition?
MAINTENANCE CLOSET |  |  | organize tools, equipment, safely store ladders, label and date paint cans, separate flammables and combustables and cleaning supplies. Don't let this room become your junk room - lock it. Post PM schedule on inside of door
PREVENTATIVE MAINTENANCE SCHEDULE | Determine items that need attention. Ask advice from service providers or contracts for appropriate timing of service |  | Fill in PM schedule; post it; amend as needed; monitor it | PM Schedule
VOLUNTEERS | list projects, needs and hours worked | Kept by program coordinator and development coordiator
| employee manual for employees and volunteers | Manual for employees complete, volunteers receive orientation | keep employee manual update & available

## PM Schedule
MAINTENANCE SCHEDULE | 2012 | Indicate date work completed
WEEKLY | JAN | FEB | MAR | APR | MAY | JUN | JULY | AUG | SEPT | OCT | NOV | DEC
Check all overhead lights
IT BACKUP
Clean up by dumpster & building exterior
Clean floor drains in all restrooms
MONTHLY
Check outside lights
Clear roof drains
Clean drain traps in both break rooms
Clean overhead filter grids in restrooms
Clean ice maker filter
Keep storage closets organized
QUARTERLY
Check fire extinguishers
HVAC inspection
vehicle oil changes & PM maintennance
Clean icemaker filter
smoke detector & CO2 detector check
BI-ANNUALLY
Check outside sign lights | bar: Indicate date work completed APR; Indicate date work completed OCT
ANNUALLY
Oil all door hinges
Fire Drill | bar: Indicate date work completed FEB
Tornado Drill | bar: Indicate date work completed MAR
test fire sprinkler system | bar: Indicate date work completed AUG
inspect trees near structures/playground | bar: Indicate date work completed JUN
vehicle emissions and renew tag | bar: 2012 JAN
identify timing for
pest control
termite treatment
carpet cleaning
security camera history
update vendor & employee contacts
review insur coverage